Design Team

The design team is a group of persons who designing the building. The intelligent building design team consists of architects, developers, specialist engineer and design staff.  Intelligent building technologies require the system design reacts to component and system failures more reliably then conventional systems. System design must ensure that problem isolation and resolution will improve on “conventional” overall performance. To achieve these objectives, there is a continuing need for education for all those involved.

Education, experience and changes in normal practices will be required throughout the supplier community specifically including the engineers, designers, architects, manufacturers and those who manage and maintain these systems. The problems facing by design team is not all of the design team have an education and experience related to the intelligent building design especially in our country, so it quite hard to achieve the above objectives with that situation.

The lack of knowledge of design team will be affected the building performance as evaluated by Public Works Canada (PWC) in their occupied buildings1:

- Sensors not calibrated

- Line connections between sensors and central management not functioning

- Central computer systems not installed or not operated as intended

- Local control not adjusted for the occupancy

- Local sensors not corresponding with local controls due to frequent spatial/layout changes

Another problems facing by design team is difficulty of achieving agreement among the design team members to commit to the approach required for implementing intelligent building technologies and challenge for the architect to select qualified engineer to undertake the consolidated activities needed to design and implement an intelligent building.

1. Brian Atkin (1988).  Intelligent Building. London, p. 15

See also financial and contractors for another problem in intelligent building