SILICA

Source

- Carryover of sea water droplets from evaporator.

- Leakage of sea water into condensate system.

- Use of untreated fresh water as boiler make-up.

- Use of water stored in cement-lined tank.

Effect

- Formation of silica scales on boiler surfaces.

- Deposition of silica scales on turbine blades.

Prevention

- Do not use untreated fresh water as boiler make-up.

- Do not use water from cement-lined tanks as boiler make-up.

- Maintain correct pH.