Boiler Blowdown

Boiler blowdown is a way of eliminating dissolved and suspended solids from the boiler by removing concentrated solids in the blowdown water and replacing the lost water with pure feed water, thus, reducing the overall concentration of solids in the boiler.

The amount of boiler blowdown required is dependent upon the quantity of solids which need to be removed from the boiler. Refer to the maker’s instruction book.