Control of Phosphate Reserve

Phosphate is added to the boiler to react preferentially with any calcium salts which find their way into the boiler water and precipitate them as the tricalcium phosphate or a calcium hydroxyl apetite.

Both these products form non-sticky sludge which can be removed in the boiler blowdown.

If phosphate is added to the calcium salts found in the boiler water, the following occurs:

Calcium 	Trisodium		Tricalcium		Sodium

chloride		phosphate		phosphate		Chloride

3CaCl2	     +	2Na3PO4		Ca3(PO4) 2           +	6NaCl

If there is no phosphate in the boiler water, the following reaction occurs:

Calcium 			Calcium			Water		Carbon

bicarbonate			carbonate				dioxide

Ca(HCO3)2	     		CaCO3		+	H2O         +      CO2