## Sheet1
Data Storage Requirements For Sensors
| Units | Monthly | Weekly | Daily | Hourly | Minute | Second | 10hz | 100hz | 1000hz
Number Per Min | ea | 2.2964e-05 | 9.9206e-05 | 0.00069444 | 0.016667 | 1 | 60 | 600 | 6000 | 60000
Each Reading | bytes | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
MBytes/Min | Mbytes | 1.1482e-09 | 4.9603e-09 | 3.4722e-08 | 8.3333e-07 | 5e-05 | 0.003 | 0.03 | 0.3 | 3
MBytes/Hr | Mbytes | 6.8893e-08 | 2.9762e-07 | 2.0833e-06 | 5e-05 | 0.003 | 0.18 | 1.8 | 18 | 180
MBytes/Day | Mbytes | 1.6534e-06 | 7.1429e-06 | 5e-05 | 0.0012 | 0.072 | 4.32 | 43.2 | 432 | 4320
MBytes/Month | Mbytes | 5.0017e-05 | 0.00021607 | 0.0015125 | 0.0363 | 2.178 | 130.68 | 1306.8 | 13068 | 130680
MBytes/Yr | Mbytes | 0.0006002 | 0.0025929 | 0.01815 | 0.4356 | 26.136 | 1568.16 | 15681.6 | 156816 | 1568160
MBytes/Decade | Mbytes | 0.006002 | 0.025929 | 0.1815 | 4.356 | 261.36 | 15681.6 | 156816 | 1568160 | 15681600
Sensors/room | 10
Rooms/Bldg | 50
Gbytes/Year | Gbytes | 2.5008e-05 | 0.00010804 | 0.00075625 | 0.01815 | 1.089 | 65.34 | 653.4 | 6534 | 65340
Video
[9 empty] | Width | 800
[9 empty] | Height | 600
[9 empty] | Depth | 2
[9 empty] | Frame | 960000
[9 empty] | Frames/Sec | 30
[9 empty] | MBytes/Sec | 28.8
[9 empty] | GBytes/Yr | 908734.464
This sheet shows appoximate numbers for the storage requirements for sensors operating at different frequencies.
Note the change in units from bytes, to Megabytes to Gigabytes.
Note that the separate calculation for the storage requirements for a single video signal - of course what happens in practice is selective storage.